**Flat, compact air distributor made of plastic, 12-way MA-FV12-63**

Flat, compact air distributor made of recyclable plastic for 12 x DN 63 flexible ducts, DN 160 supply line. Suitable for flexible and space-saving mounting options.

Flat air distributor consisting of: 1 DN 200 sealing cover, 1 DN 160 coupling, 1 DN 160 end cover, 12 DN 63 sealing rings, 12 DN 63 detachable securing clips for fastening the flexible ducts, 9 DN 63 sealing covers.

Colour anthracite (body) with white/slightly transparent connection sockets.

With slide-in visual control for precise and controlled flexible duct slide-in module.

Can be used as a 90° distributor or as a straight-through distributor with optional accessories (see coupling).

Technical data

|  |  |
| --- | --- |
| Article: | MA-FV12-63 |
| Air direction: | Ventilation and air extraction |
| Installation site: | Ceiling / Wall / Floor |
| Material: | Polypropylene (PP) |
| Colour: | Anthracite |
| Weight: | 2,74 kg |
| Weight including packaging: | 3,47 kg |
| Connection diameter: | 160 mm |
| Flexible steel duct connection diameter: | 63 mm |
| Number of couplings: | 12 |
| Suitable for nominal size: | 63 mm |
| Width: | 445 mm |
| Height: | 80 mm |
| Depth: | 445 mm |
| Width with packaging: | 478 mm |
| Height with packaging: | 146 mm |
| Depth with packaging: | 478 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799992936 |
| Article number: | 0059.2124 |

Manufacturer:

 MAICO

MA-FV12-63 Flat, compact air distributor made of plastic, 12-way