**Air outlet grille SGAI GR 35**

Rectangular protective grille.

Suitable for the GRM HD Ex series.

Technical data

|  |  |
| --- | --- |
| Article: | SGAI GR 35 |
| Material: | Sheet steel |
| Colour: | Silver |
| Weight: | 1,6 kg |
| Weight including packaging: | 1,6 kg |
| Width: | 300 mm |
| Height: | 400 mm |
| Depth: | 2 mm |
| Width with packaging: | 300 mm |
| Height with packaging: | 400 mm |
| Depth with packaging: | 2 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799734307 |
| Article number: | 0073.0430 |

Manufacturer: MAICO

SGAI GR 35 Air outlet grille