**Adapter MA-AD3-63**

Adapter made of recyclable plastic for 3 x DN 63 flexible ducts and 1 x coupling for DN 125 supply line.

Adapter consisting of: 3 DN 63 sealing rings, 3 DN 63 detachable securing clips for fastening the flexible ducts, 2 DN 63 sealing covers.

Colour anthracite (body) with white/slightly transparent connection sockets.

With slide-in visual control for precise and controlled flexible duct slide-in module.

Technical data

|  |  |
| --- | --- |
| Article: | MA-AD3-63 |
| Installation site: | Ceiling / Wall / Floor |
| Material: | Polypropylene (PP) |
| Colour: | Anthracite |
| Weight: | 0,5 kg |
| Weight including packaging: | 0,85 kg |
| Connection diameter: | 125 mm |
| Nominal size: | 63 mm |
| Suitable for nominal size: | 63 mm |
| Width: | 231 mm |
| Height: | 124 mm |
| Depth: | 275 mm |
| Width with packaging: | 278 mm |
| Height with packaging: | 143 mm |
| Depth with packaging: | 300 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799992899 |
| Article number: | 0059.2120 |

Manufacturer:

 MAICO

MA-AD3-63 Adapter