**Air filter TFE 25**

Air filter for ventilation systems.

Inspection lid can be removed for easy filter exchange.

With filter insert made of synthetic fibre.

Filter insert cannot be regenerated.

With rubber seal on the air connection couplings.

Accessories: Replacement air filter FE.. .

Recommended accessories: DW 1000 differential pressure controller.

Installation instructions

Monitor filter resistance using DW 1000 differential pressure controller.

Technical data

|  |  |
| --- | --- |
| Article: | TFE 25 |
| Housing material: | Sheet steel, galvanised |
| Weight: | 3,2 |
| Filter class: | G4 |
| Nominal size: | 250 mm |
| Ambient temperature: | 100 °C |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799490449 |
| Article number: | 0149.0044 |

Manufacturer: MAICO

TFE 25 Air filter