**Shutter VKKI 28**

Airstream-operated shutters made of plastic.

Technical data

|  |  |
| --- | --- |
| Article: | VKKI 28 |
| Material: | Synthetic material |
| Colour: | Anthracite |
| Weight: | 2 kg |
| Weight including packaging: | 2 kg |
| Width: | 225 mm |
| Height: | 225 mm |
| Depth: | 200 mm |
| Width with packaging: | 225 mm |
| Height with packaging: | 225 mm |
| Depth with packaging: | 200 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799734741 |
| Article number: | 0073.0474 |

Manufacturer: MAICO

VKKI 28 Shutter