**Flat and compact double air distributor, made of plastic, 6-way MA-FDV6-90**

Flat and compact double air distributor made of recyclable plastic for 6 x DN 90 flexible ducts, DN 180 supply line. Suitable for flexible and space-saving mounting options.

Flat air distributor consisting of: 1 DN 200 sealing cover, 1 DN 180 coupling, 1 DN 180 end cover, 6 DN 90 sealing rings, 6 DN 90 detachable securing clips for fastening the flexible ducts, 3 DN 90 sealing covers.

Colour anthracite (body) with white/slightly transparent connection sockets.

With slide-in visual control for precise and controlled flexible duct slide-in module.

Can be used as a 90° distributor or as a straight-through distributor with optional accessories (see coupling).

Technical data

|  |  |
| --- | --- |
| Article: | MA-FDV6-90 |
| Installation site: | Wall / Ceiling / Floor |
| Material: | Polypropylene (PP) |
| Colour: | Anthracite |
| Weight: | 2,72 kg |
| Weight including packaging: | 3,56 kg |
| Connection diameter: | 180 mm |
| Flexible steel duct connection diameter: | 90 mm |
| Number of couplings: | 6 |
| Suitable for nominal size: | 90 mm |
| Width: | 468 mm |
| Height: | 99 mm |
| Depth: | 795 mm |
| Width with packaging: | 485 mm |
| Height with packaging: | 135 mm |
| Depth with packaging: | 806 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799992981 |
| Article number: | 0059.2129 |

Manufacturer: MAICO

MA-FDV6-90 Flat and compact double air distributor, made of plastic, 6-way