**Mounting clamp MF-S63**

Mounting clamps for mounting the MF-F flexible ducts, mainly used for redevelopment work, but also in new buildings.

Quick installation because the ducts can be fitted without any tools.

Technical data

|  |  |
| --- | --- |
| Article: | MF-S63 |
| Air direction: | Ventilation and air extraction |
| Installation site: | Ceiling / Wall / Floor |
| Material: | Sheet steel, galvanised |
| Weight: | 0,09 kg |
| Weight including packaging: | 0,1 kg |
| Suitable for nominal size: | 63 mm |
| Width: | 90 mm |
| Height: | 100 mm |
| Depth: | 30 mm |
| Width with packaging: | 90 mm |
| Height with packaging: | 100 mm |
| Depth with packaging: | 30 mm |
| Thread: | M8 / M10 |
| Width across flats: | SW 13 |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799184713 |
| Article number: | 0018.0471 |

Manufacturer: MAICO

MF-S63 Mounting clamp