**Extension kit PPB 30 VS**

Extension of the internal fluid channel.

Accessories needed for the PPB 30 K and PPB 30 O final assembly kits with a wall thickness of more than 500 mm.

The extension kit can only be used in conjunction with the long PP 45 RHL shell sleeve.

Scope of delivery:

Extension sleeve 500 mm in length, diameter of 90 mm

1 centring ring

Technical data

|  |  |
| --- | --- |
| Article: | PPB 30 VS |
| Installation site: | Wall |
| Material: | Synthetic material |
| Colour: | grey |
| Weight: | 0,6 kg |
| Weight including packaging: | 0,68 kg |
| Nominal size: | 90 mm |
| Length: | 500 mm |
| Width: | 151 mm |
| Height: | 151 mm |
| Depth: | 500 mm |
| Width with packaging: | 155 mm |
| Height with packaging: | 155 mm |
| Depth with packaging: | 505 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799991793 |
| Article number: | 0093.1522 |

Manufacturer: MAICO

PPB 30 VS Extension kit