**Connection frame VRI 63**

Connection frame made of metal.

Epoxy coating.

Technical data

|  |  |
| --- | --- |
| Article: | VRI 63 |
| Material: | Metal |
| Colour: | grey |
| Weight: | 9,8 kg |
| Weight including packaging: | 9,8 kg |
| Width: | 790 mm |
| Height: | 790 mm |
| Depth: | 210 mm |
| Width with packaging: | 790 mm |
| Height with packaging: | 790 mm |
| Depth with packaging: | 210 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799733409 |
| Article number: | 0073.0340 |

Manufacturer: MAICO

VRI 63 Connection frame