**Air filter, replacement WSF 250**

Replacement air filter for WS 250 centralised ventilation unit.

Technical data

|  |  |
| --- | --- |
| Article: | WSF 250 |
| Installation position: | vertical / horizontal |
| Weight: | 0,49 kg |
| Weight including packaging: | 0,68 kg |
| Type of filter: | Pollen filter |
| Filter class: | ISO Coarse 80 % (G4) / ISO ePM1 55 % (F7) |
| Width: | 485 mm |
| Height: | 180 mm |
| Depth: | 48 mm |
| Width with packaging: | 495 mm |
| Height with packaging: | 195 mm |
| Depth with packaging: | 75 mm |
| Packing unit: | 1 set (3 pieces) |
| Suitable for products: | WS 250 |
| Range: | K |
| GTIN (EAN): | 4012799938903 |
| Article number: | 0093.0890 |

Manufacturer: MAICO

WSF 250 Air filter, replacement