**Flat and compact double air distributor, made of plastic, 18-way MA-FDV18-63**

Flat and compact double air distributor made of recyclable plastic for 18 x DN 63 flexible ducts, DN 180 supply line. Suitable for flexible and space-saving mounting options.

Flat air distributor consisting of: 3 DN 200 sealing covers, 1 DN 180 coupling, 1 DN 180 end cover, 18 DN 63 sealing rings, 18 DN 63 detachable securing clips for fastening the flexible ducts, 14 DN 63 sealing covers.

Colour anthracite (body) with white/slightly transparent connection sockets.

With slide-in visual control for precise and controlled flexible duct slide-in module.

Can be used as a 90° distributor or as a straight-through distributor with optional accessories (see coupling).

Technical data

|  |  |
| --- | --- |
| Article: | MA-FDV18-63 |
| Installation site: | Ceiling / Wall / Floor |
| Material: | Polypropylene (PP) |
| Colour: | Anthracite |
| Weight: | 3,1 kg |
| Weight including packaging: | 3,95 kg |
| Connection diameter: | 180 mm |
| Flexible steel duct connection diameter: | 63 mm |
| Number of couplings: | 18 |
| Suitable for nominal size: | 63 mm |
| Width: | 445 mm |
| Height: | 80 mm |
| Depth: | 772 mm |
| Width with packaging: | 485 mm |
| Height with packaging: | 135 mm |
| Depth with packaging: | 806 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799992967 |
| Article number: | 0059.2127 |

Manufacturer: MAICO

MA-FDV18-63 Flat and compact double air distributor, made of plastic, 18-way