**Intermediate socket SZ 63**

Intermediate sockets for roof fans.

For a connection between the SD socket sound absorber and the ventilation ducts that is economical in terms of air flow and easy to mount.

For installation in flat roofs.

Technical data

|  |  |
| --- | --- |
| Article: | SZ 63 |
| Installation site: | Roof |
| Housing material: | Sheet steel, galvanised |
| Suitable for nominal size: | 630 mm |
| Ambient temperature: | 100 °C |
| Packing unit: | 1 piece |
| GTIN (EAN): | 4012799922940 |
| Article number: | 0092.0294ALT |

Manufacturer: MAICO

SZ 63 Intermediate socket