**Installation kit DDEx 500 IK**

Installation kit for DDEx 500 differential pressure switch.

Contains two pressure connection sockets, flexible pressure tubing 2 m (inner diameter 6 mm) and a connection adapter.

Technical data

|  |  |
| --- | --- |
| Article: | DDEx 500 IK |
| Material: | Synthetic material |
| Colour: | clear |
| Weight: | 0,06 kg |
| Weight including packaging: | 0,37 kg |
| Width: | 120 mm |
| Height: | 100 mm |
| Depth: | 30 mm |
| Width with packaging: | 345 mm |
| Height with packaging: | 185 mm |
| Depth with packaging: | 117 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799573043 |
| Article number: | 0157.0304 |

Manufacturer: MAICO

DDEx 500 IK Installation kit