**Extension sleeve WRG 35-VH**

Wall sleeve extension from the WRG 35 single-room ventilation unit.

Scope of delivery: extension sleeve, 2 separating bridges and condensation hose.

Technical data

|  |  |
| --- | --- |
| Article: | WRG 35-VH |
| Speed controllable: | - |
| Installation site: | Wall |
| Material: | Plastic EPP |
| Weight: | 0,2 kg |
| Weight including packaging: | 0,24 kg |
| Nominal size: | 350 mm |
| Width: | 350 mm |
| Height: | 350 mm |
| Depth: | 350 mm |
| Width with packaging: | 350 mm |
| Height with packaging: | 120 mm |
| Depth with packaging: | 350 mm |
| Ambient temperature: | 40 °C |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799924517 |
| Article number: | 0192.0451 |

Manufacturer: MAICO

WRG 35-VH Extension sleeve