**Air filter, replacement FF 100**

Replacement air filter for fresh air units.

Technical data

|  |  |
| --- | --- |
| Article: | FF 100 |
| Weight: | 0,04 kg |
| Weight including packaging: | 0,36 kg |
| Filter class: | G2 |
| Width: | 225 mm |
| Height: | 95 mm |
| Depth: | 6 mm |
| Width with packaging: | 265 mm |
| Height with packaging: | 155 mm |
| Depth with packaging: | 100 mm |
| Ambient temperature: | 40 °C |
| Packing unit: | 5 pieces |
| Suitable for products: | FLG 100, FLG 100 Z |
| Range: | D |
| GTIN (EAN): | 4012799936527 |
| Article number: | 0093.0652 |

Manufacturer: MAICO

FF 100 Air filter, replacement