**Socket sound absorber SD 63**

Silencer for suction side sound insulation of roof fans.

With silencing elements made of abrasion-resistant and non-flammable mineral fibre plates.

Recommended accessories: SZ intermediate sockets for connecting ducts.

Technical data

|  |  |
| --- | --- |
| Article: | SD 63 |
| Max. flow velocity: | 20 m/s |
| Housing material: | Sheet steel, galvanised |
| Weight: | 96 |
| Suitable for nominal size: | 630 mm |
| Insertion loss at 125 Hz: | 2 dB |
| Insertion loss at 250 Hz: | 6 dB |
| Insertion loss at 500 Hz: | 9 dB |
| Insertion loss at 1 kHz: | 17 dB |
| Insertion loss at 2 kHz: | 17 dB |
| Insertion loss at 4 kHz: | 13 dB |
| Insertion loss at 8 kHz: | 8 dB |
| Packing unit: | 1 piece |
| GTIN (EAN): | 4012799923466 |
| Article number: | 0092.0346ALT |

Manufacturer: MAICO

SD 63 Socket sound absorber