**Deflection piece MA-U2-90**

90° deflection piece made of recyclable plastic for 2 x DN 90 flexible ducts and 1 x DN 125 coupling for a supply/exhaust air valve.

90° deflection piece consisting of: 1 DN 125 extension duct, 1 DN 125 end cover, 2 DN 90 sealing rings, 2 DN90 detachable securing clips for fastening the flexible ducts, 1 DN 90 sealing cover.

Colour anthracite (body) with white/slightly transparent connection sockets.

With slide-in visual control for precise and controlled flexible duct slide-in module.

Technical data

|  |  |
| --- | --- |
| Article: | MA-U2-90 |
| Installation site: | Ceiling / Wall / Floor |
| Material: | Polypropylene (PP) |
| Colour: | Anthracite |
| Weight: | 0,62 kg |
| Weight including packaging: | 1,05 kg |
| Connection diameter: | 125 mm |
| Nominal size: | 90 mm |
| Suitable for nominal size: | 90 mm |
| Width: | 290 mm |
| Height: | 347 mm |
| Depth: | 268 mm |
| Width with packaging: | 278 mm |
| Height with packaging: | 147 mm |
| Depth with packaging: | 431 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799992875 |
| Article number: | 0059.2118 |

Manufacturer:
MAICO

MA-U2-90 Deflection piece