**TR 2,5**

Technical data

|  |  |
| --- | --- |
| Article: | TR 2,5 |
| Maximum load: | 2,5 A |
| Weight: | 12,3 |
| Weight including packaging: | 12,3 kg |
| Width: | 220 mm |
| Height: | 280 mm |
| Depth: | 197 mm |
| Width with packaging: | 260 mm |
| Height with packaging: | 240 mm |
| Depth with packaging: | 340 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799573814 |
| Article number: | 0157.0381 |

Manufacturer: MAICO

TR 2,5