**Ventilation duct connector MT-V160**

For connecting MT-R ventilation duct and MT-B ventilation elbow.

Simple and reliable installation.

Rapid, force-fit connection.

Technical data

|  |  |
| --- | --- |
| Article: | MT-V160 |
| Material: | EPDM rubber |
| Weight: | 0,1 kg |
| Weight including packaging: | 0,14 kg |
| Nominal size: | 160 mm |
| Internal diameter: | 200 mm / 200 mm |
| Width: | 280 mm |
| Height: | 50 mm |
| Depth: | 60 mm |
| Width with packaging: | 280 mm |
| Height with packaging: | 50 mm |
| Depth with packaging: | 60 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799599883 |
| Article number: | 0059.0988 |

Manufacturer: MAICO

MT-V160 Ventilation duct connector