**Roof socket for flat roofs SO 50**

Flat roof socket for assembly of roof fans.

With non-flammable sound and heat insulation.

Technical data

|  |  |
| --- | --- |
| Article: | SO 50 |
| Housing material: | Sheet steel, galvanised |
| Weight: | 22,7 kg |
| Weight including packaging: | 23,78 kg |
| Suitable for nominal size: | 500 mm |
| Width: | 1.200 mm |
| Height: | 290 mm |
| Depth: | 1.200 mm |
| Width with packaging: | 1.200 mm |
| Height with packaging: | 290 mm |
| Depth with packaging: | 1.200 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799933649 |
| Article number: | 0093.0364 |

Manufacturer: MAICO

SO 50 Roof socket for flat roofs