**Centrifugal roof fan DRD45-64**

Technical data

|  |  |
| --- | --- |
| Article: | DRD45-64 |
| Pole-changeable: | - |
| Installation site: | Roof |
| Installation position: | vertical |
| Material: | Sheet steel, galvanised |
| Packing unit: | 1 piece |
| Article number: | 0087.0154 |

Manufacturer: MAICO

DRD45-64 Centrifugal roof fan