**Counter socket GSI 63**

Counter socket for the simple connection between fan and duct.

Technical data

|  |  |
| --- | --- |
| Article: | GSI 63 |
| Material: | Sheet steel, coated |
| Colour: | grey |
| Weight: | 2,9 kg |
| Weight including packaging: | 2,9 kg |
| Suitable for nominal size: | 630 mm |
| Width: | 730 mm |
| Height: | 730 mm |
| Depth: | 80 mm |
| Width with packaging: | 730 mm |
| Height with packaging: | 730 mm |
| Depth with packaging: | 80 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799732662 |
| Article number: | 0073.0266 |

Manufacturer: MAICO

GSI 63 Counter socket