**Air filter, replacement WRG 35-G4**

Replacement air filters for WRG 35 single-room ventilation unit.

Easy filter change.

Technical data

|  |  |
| --- | --- |
| Article: | WRG 35-G4 |
| Installation position: | vertical / horizontal |
| Weight: | 0,03 kg |
| Weight including packaging: | 0,06 kg |
| Filter class: | ISO Coarse 60 % (G4) |
| Width: | 175 mm |
| Height: | 150 mm |
| Depth: | 10 mm |
| Width with packaging: | 176 mm |
| Height with packaging: | 155 mm |
| Depth with packaging: | 20 mm |
| Packing unit: | 2 pieces |
| Range: | K |
| GTIN (EAN): | 4012799924524 |
| Article number: | 0192.0452 |

Manufacturer: MAICO

WRG 35-G4 Air filter, replacement