**Axial wall fan DZS 25/4 A-Ex**

Technical data

|  |  |
| --- | --- |
| Article: | DZS 25/4 A-Ex |
| Model: | Steel wall ring |
| Air flow volume: | 1.050 m³/h |
| Rotating speed: | 1.470 1/min |
| Power consumption: | 70 W |
| Imax: | 400 A |
| Weight: | 7,675 |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799941033 |
| Article number: | 0094.0103 |

Manufacturer: MAICO

DZS 25/4 A-Ex Axial wall fan