**Reducer MF-RZ75/63**

Sheet metal reducer for common connector of various nominal flexible steel duct widths.

Reducer connection sockets with collar size.

The two different flexible steel duct connection sockets of the reducer each have two push-in mounting brackets which allow the flexible ducts to be fixed quickly and cheaply.

Technical data

|  |  |
| --- | --- |
| Article: | MF-RZ75/63 |
| Material: | Sheet steel, galvanised |
| Weight: | 0,1 kg |
| Weight including packaging: | 0,13 kg |
| Nominal size: | 75 mm / 63 mm |
| Width: | 100 mm |
| Height: | 79,2 mm |
| Depth: | 79,2 mm |
| Width with packaging: | 100 mm |
| Height with packaging: | 79,2 mm |
| Depth with packaging: | 79,2 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799180722 |
| Article number: | 0018.0072 |

Manufacturer: MAICO

MF-RZ75/63 Reducer