**Supply air element, replacement filter ZEF 10 IB**

ZEF 10 T: Spare air filter for ZE 10 T supply air element.

ZEF 10 IB: Spare air filter for ZE 10 IB supply air element.

ZEF 45 F: Spare air filter for ZE 45 F.

Technical data

|  |  |
| --- | --- |
| Article: | ZEF 10 IB |
| Weight including packaging: | 0,02 kg |
| Filter class: | G3 |
| Width with packaging: | 200 mm |
| Height with packaging: | 50 mm |
| Depth with packaging: | 160 mm |
| Ambient temperature: | 50 °C |
| Packing unit: | 5 pieces |
| Range: | D |
| GTIN (EAN): | 4012799930211 |
| Article number: | 0093.0021 |

Manufacturer: MAICO

ZEF 10 IB Supply air element, replacement filter