**Roof socket for flat roofs SO 45**

Flat roof socket for assembly of roof fans.

With non-flammable sound and heat insulation.

Technical data

|  |  |
| --- | --- |
| Article: | SO 45 |
| Housing material: | Sheet steel, galvanised |
| Weight: | 20 kg |
| Weight including packaging: | 24 kg |
| Suitable for nominal size: | 450 mm |
| Width: | 1.140 mm |
| Height: | 290 mm |
| Depth: | 1.140 mm |
| Width with packaging: | 1.140 mm |
| Height with packaging: | 290 mm |
| Depth with packaging: | 1.140 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799938743 |
| Article number: | 0093.0874 |

Manufacturer: MAICO

SO 45 Roof socket for flat roofs