**Transition adapter URRI GR 12**

Rectangular - round transition adapter.

Technical data

|  |  |
| --- | --- |
| Article: | URRI GR 12 |
| Type of installation: | Recessed-mounted |
| Material: | Synthetic material |
| Colour: | grey |
| Weight: | 0,1 kg |
| Weight including packaging: | 0,1 kg |
| Suitable for nominal size: | 120 mm |
| Width: | 135 mm |
| Height: | 135 mm |
| Depth: | 95 mm |
| Width with packaging: | 135 mm |
| Height with packaging: | 135 mm |
| Depth with packaging: | 95 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799733102 |
| Article number: | 0073.0310 |

Manufacturer: MAICO

URRI GR 12 Transition adapter