**Duct shutter VKRI R 63**

Airstream-operated duct shutter with round connection plate.

Technical data

|  |  |
| --- | --- |
| Article: | VKRI R 63 |
| Material: | Steel |
| Colour: | grey |
| Weight: | 18 kg |
| Weight including packaging: | 18 kg |
| Nominal size: | 630 mm |
| Width: | 739 mm |
| Height: | 370 mm |
| Depth: | 739 mm |
| Width with packaging: | 739 mm |
| Height with packaging: | 370 mm |
| Depth with packaging: | 739 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799730880 |
| Article number: | 0073.0088 |

Manufacturer: MAICO

VKRI R 63 Duct shutter