**O-ring set for air distributor FFS-V4OR**

O-rings (valve gaskets) for the FFS-V4 air distributor, PU:

This item may be required as spare part.

Technical data

|  |  |
| --- | --- |
| Article: | FFS-V4OR |
| Material: | Natural rubber |
| Colour: | Black |
| Weight: | 0,01 kg |
| Weight including packaging: | 0,01 kg |
| Width: | 210 mm |
| Height: | 75 mm |
| Depth: | 8 mm |
| Width with packaging: | 210 mm |
| Height with packaging: | 160 mm |
| Depth with packaging: | 8 mm |
| Packing unit: | 5 pieces |
| Range: | K |
| GTIN (EAN): | 4012799558958 |
| Article number: | 0055.0895 |

Manufacturer: MAICO

FFS-V4OR O-ring set for air distributor