**Axial wall fan DZQ 40/6 A-Ex**

Technical data

|  |  |
| --- | --- |
| Article: | DZQ 40/6 A-Ex |
| Model: | Square wall plate |
| Air flow volume: | 2.800 m³/h |
| Rotating speed: | 975 1/min |
| Power consumption: | 150 W |
| Imax: | 0,62 A |
| Weight: | 14,5 |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799837756 |
| Article number: | 0083.0775 |

Manufacturer: MAICO

DZQ 40/6 A-Ex Axial wall fan