**Air filter, replacement WRG 35-F7**

Replacement air filters for WRG 35 single-room ventilation unit.

Easy filter change.

Technical data

|  |  |
| --- | --- |
| Article: | WRG 35-F7 |
| Installation position: | vertical / horizontal |
| Weight: | 0,05 kg |
| Weight including packaging: | 0,06 kg |
| Filter class: | ISO ePM2,5 65 % (F7) |
| Width: | 175 mm |
| Height: | 160 mm |
| Depth: | 20 mm |
| Width with packaging: | 180 mm |
| Height with packaging: | 25 mm |
| Depth with packaging: | 155 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799924531 |
| Article number: | 0192.0453 |

Manufacturer: MAICO

WRG 35-F7 Air filter, replacement