**Soffit element extension PP 45 LEV**

Soffit element extension as an accessory for PP 45 LE soffit element. The extension serves to extend the soffit channel installation length from 535 mm to 858 mm.

Fire-proof class B1.

Technical data

|  |  |
| --- | --- |
| Article: | PP 45 LEV |
| Installation site: | Outside wall |
| Material: | Plastic EPP |
| Housing material: | Plastic EPP |
| Colour: | Black |
| Weight: | 0,45 kg |
| Weight including packaging: | 0,5 kg |
| Fire protection: | Fire-proof class B1 |
| Width: | 330 mm |
| Height: | 400 mm |
| Depth: | 100 mm |
| Width with packaging: | 335 mm |
| Height with packaging: | 405 mm |
| Depth with packaging: | 105 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799991489 |
| Article number: | 0093.1483 |

Manufacturer: MAICO

PP 45 LEV Soffit element extension