**Square wall plate QW 80**

Wall plate for the installation of DAS fans.

Technical data

|  |  |
| --- | --- |
| Article: | QW 80 |
| Installation site: | Wall |
| Installation position: | vertical |
| Material: | Steel, varnished |
| Weight: | 23,5 kg |
| Weight including packaging: | 24,5 kg |
| Suitable for nominal size: | 800 mm |
| Width: | 1.210 mm |
| Height: | 1.210 mm |
| Depth: | 5 mm |
| Width with packaging: | 1.220 mm |
| Height with packaging: | 1.220 mm |
| Depth with packaging: | 10 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799530145 |
| Article number: | 0053.0014 |

Manufacturer: MAICO

QW 80 Square wall plate