**Transition adapter URRI 18**

Rectangular to round transition adapter.

For attachment to the fan.

Technical data

|  |  |
| --- | --- |
| Article: | URRI 18 |
| Type of installation: | Recessed-mounted |
| Material: | Sheet steel, coated |
| Colour: | grey |
| Weight: | 1,1 kg |
| Weight including packaging: | 1,1 kg |
| Suitable for nominal size: | 180 mm |
| Width: | 210 mm |
| Height: | 210 mm |
| Depth: | 140 mm |
| Width with packaging: | 210 mm |
| Height with packaging: | 210 mm |
| Depth with packaging: | 140 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799733010 |
| Article number: | 0073.0301 |

Manufacturer: MAICO

URRI 18 Transition adapter