**Wall sleeve WH 25**

Wall sleeve for wall and roof installations.

Technical data

|  |  |
| --- | --- |
| Article: | WH 25 |
| Installation site: | Wall / Ceiling |
| Material: | Synthetic material |
| Weight: | 0,8 kg |
| Weight including packaging: | 0,82 kg |
| Suitable for nominal size: | 250 mm |
| Width: | 287 mm |
| Height: | 287 mm |
| Depth: | 280 mm |
| Width with packaging: | 287 mm |
| Height with packaging: | 287 mm |
| Depth with packaging: | 280 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799592303 |
| Article number: | 0059.0230 |

Manufacturer: MAICO

WH 25 Wall sleeve