**Inlet protective grille SGEI K 50**

Protective grille, round in accordance with ISO 10615.

Made of steel for fans of the GRK R / GRK R Ex series.

Technical data

|  |  |
| --- | --- |
| Article: | SGEI K 50 |
| Material: | Steel |
| Colour: | Silver |
| Weight: | 1,3 kg |
| Weight including packaging: | 1,3 kg |
| Suitable for nominal size: | 500 mm |
| Width: | 500 mm |
| Height: | 14 mm |
| Depth: | 2,4 mm |
| Width with packaging: | 500 mm |
| Height with packaging: | 14 mm |
| Depth with packaging: | 2,4 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799734697 |
| Article number: | 0073.0469 |

Manufacturer: MAICO

SGEI K 50 Inlet protective grille