**Connecting sleeve MA-M75**

DN75 connecting sleeve made of recyclable plastic for the simple and airtight connection of DN75 flexible pipes.

DN75 connecting sleeve consisting of: 2 DN75 sealing rings, 2 DN75 detachable securing clips for fastening the flexible ducts.

Colour white/light transparent.

With slide-in visual control for precise and controlled flexible duct slide-in module.

Packing unit: 1 item.

Technical data

|  |  |
| --- | --- |
| Article: | MA-M75 |
| Installation site: | Ceiling / Wall / Floor |
| Material: | Polypropylene (PP) |
| Colour: | white - transparent |
| Weight: | 0,08 kg |
| Weight including packaging: | 0,1 kg |
| Nominal size: | 75 mm |
| Suitable for nominal size: | 75 mm |
| Width: | 82 mm |
| Height: | 82 mm |
| Depth: | 96 mm |
| Width with packaging: | 140 mm |
| Height with packaging: | 140 mm |
| Depth with packaging: | 140 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799993001 |
| Article number: | 0059.2131 |

Manufacturer: MAICO

MA-M75 Connecting sleeve