**Supplementary heat register cover NHA WS 75**

Supplementary heat register cover as spare part for the WS 75 semi-centralised ventilation units.

Technical data

|  |  |
| --- | --- |
| Article: | NHA WS 75 |
| Housing material: | Synthetic material |
| Weight: | 0,12 kg |
| Weight including packaging: | 0,24 kg |
| Width: | 306 mm |
| Height: | 65 mm |
| Depth: | 21 mm |
| Width with packaging: | 308 mm |
| Height with packaging: | 300 mm |
| Depth with packaging: | 45 mm |
| Range: | K |
| GTIN (EAN): | 4012799101352 |
| Article number: | E175.0332.0000 |

Manufacturer: MAICO

NHA WS 75 Supplementary heat register cover