**Air filter, replacement WS 75 G4**

Replacement air filter for WS 75 Powerbox S and H ventilation unit.

Technical data

|  |  |
| --- | --- |
| Article: | WS 75 G4 |
| Installation position: | vertical / horizontal |
| Material: | Synthetic material |
| Weight: | 0,04 kg |
| Weight including packaging: | 0,04 kg |
| Type of filter: | Dust filter |
| Filter class: | ISO Coarse 80 % (G4) |
| Width: | 186 mm |
| Height: | 114 mm |
| Depth: | 16 mm |
| Width with packaging: | 235 mm |
| Height with packaging: | 200 mm |
| Depth with packaging: | 32 mm |
| Packing unit: | 2 pieces |
| Suitable for products: | WS 75 |
| Range: | K |
| GTIN (EAN): | 4012799992462 |
| Article number: | 0093.1589 |

Manufacturer: MAICO

WS 75 G4 Air filter, replacement