**Extension kit ALDVS 125**

Extension kit for outside air openings.

Scope of delivery:

500 mm long wall sleeve

390 mm long sound-insulated duct

Technical data

|  |  |
| --- | --- |
| Article: | ALDVS 125 |
| Installation site: | Outside wall |
| Housing material: | Synthetic material |
| Weight: | 0,6 kg |
| Weight including packaging: | 0,6 kg |
| Suitable for nominal size: | 125 mm |
| Length: | 500 mm |
| Width: | 125 mm |
| Height: | 125 mm |
| Depth: | 500 mm |
| Width with packaging: | 125 mm |
| Height with packaging: | 125 mm |
| Depth with packaging: | 500 mm |
| Packing unit: | 1 piece |
| Suitable for products: | ALD 125 / ALD 125 VA |
| Range: | B |
| GTIN (EAN): | 4012799520856 |
| Article number: | 0152.0085 |

Manufacturer: MAICO

ALDVS 125 Extension kit