**Air filter, replacement CB 300 H14**

Replacement air filter for the CleanBox 300 / CleanBox 300 UV.

Technical data

|  |  |
| --- | --- |
| Article: | CB 300 H14 |
| Installation site: | in unit |
| Installation position: | vertical / horizontal |
| Material: | Synthetic material |
| Colour: | White |
| Weight: | 3,3 kg |
| Weight including packaging: | 3,8 kg |
| Type of filter: | HEPA filter |
| Filter class: | H14 |
| Width: | 305 mm |
| Height: | 157 mm |
| Depth: | 305 mm |
| Width with packaging: | 340 mm |
| Height with packaging: | 310 mm |
| Depth with packaging: | 340 mm |
| Packing unit: | 1 piece |
| Suitable for products: | CleanBox 300, CleanBox 300 UV |
| Range: | L |
| GTIN (EAN): | 4012799925828 |
| Article number: | 0092.0582 |

Manufacturer: MAICO

CB 300 H14 Air filter, replacement