**Air filter, replacement WS 75 F7**

Replacement air filter for WS 75 Powerbox S and H ventilation unit.

Technical data

|  |  |
| --- | --- |
| Article: | WS 75 F7 |
| Installation position: | vertical / horizontal |
| Material: | Synthetic material |
| Weight: | 0,06 kg |
| Weight including packaging: | 0,07 kg |
| Type of filter: | Pollen filter |
| Filter class: | ISO ePM1 60 % (F7) |
| Width: | 173 mm |
| Height: | 116 mm |
| Depth: | 29 mm |
| Width with packaging: | 240 mm |
| Height with packaging: | 210 mm |
| Depth with packaging: | 32 mm |
| Packing unit: | 1 piece |
| Suitable for products: | WS 75 |
| Range: | K |
| GTIN (EAN): | 4012799992455 |
| Article number: | 0093.1588 |

Manufacturer: MAICO

WS 75 F7 Air filter, replacement