**Connection pieces FFS-VS**

Connection pieces for e.g. the connection of 2 duct elbows.

Technical data

|  |  |
| --- | --- |
| Article: | FFS-VS |
| Weight: | 0,58 kg |
| Weight including packaging: | 0,59 kg |
| Width: | 143 mm |
| Height: | 59 mm |
| Depth: | 92 mm |
| Width with packaging: | 292 mm |
| Height with packaging: | 142 mm |
| Depth with packaging: | 97 mm |
| Packing unit: | 5 pieces |
| Range: | K |
| GTIN (EAN): | 4012799558828 |
| Article number: | 0055.0882 |

Manufacturer: MAICO

FFS-VS Connection pieces