**Temperature sensor SE WS 75 T**

Temperature sensor as spare part for the WS 75 semi-centralised ventilation units.

The sensor controls the ventilation unit depending on the measured temperature values.

Technical data

|  |  |
| --- | --- |
| Article: | SE WS 75 T |
| Weight: | 0,01 kg |
| Weight including packaging: | 0,05 kg |
| Width: | 120 mm |
| Height: | 20 mm |
| Depth: | 10 mm |
| Width with packaging: | 250 mm |
| Height with packaging: | 178 mm |
| Depth with packaging: | 20 mm |
| Range: | K |
| GTIN (EAN): | 4012799101277 |
| Article number: | E157.0165.0000 |

Manufacturer: MAICO

SE WS 75 T Temperature sensor