**Reducer REM 25/20 Ex**

Reducers for assembly of duct fans in the duct system.

REM ...: Made of impact-resistant synthetic material.

REM ... Ex: Made of antistatic material (metal), for use in areas subject to explosion hazards.

Technical data

|  |  |
| --- | --- |
| Article: | REM 25/20 Ex |
| Installation site: | Duct |
| Material: | Metal |
| Weight: | 0,8 kg |
| Weight including packaging: | 0,84 kg |
| Reduction to nominal size: | 250 mm / 200 mm |
| Width: | 249 mm |
| Height: | 249 mm |
| Depth: | 179 mm |
| Width with packaging: | 249 mm |
| Height with packaging: | 249 mm |
| Depth with packaging: | 179 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799553090 |
| Article number: | 0055.0309 |

Manufacturer: MAICO

REM 25/20 Ex Reducer