**40 mm channel sound absorbers with attenuating linging. KSD55/220/700**

Features

40 mm channel sound absorber with silencer, collar size. Total width = Width of the sound absorber. Surface: Sendzimir galvanised.

Technical data

|  |  |
| --- | --- |
| Article: | KSD55/220/700 |
| Housing material: | Sheet steel, Sendzimir galvanised |
| Channel dimension: | 220 mm x Array x 55 mm |
| Width: | 360 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799990482 |
| Article number: | 0092.0453 |

Manufacturer: MAICO

KSD55/220/700 40 mm channel sound absorbers with attenuating linging.