**Inlet protective grille SGEI 16-18**

Inlet protective grille, round.

For attachment to the fan.

Technical data

|  |  |
| --- | --- |
| Article: | SGEI 16-18 |
| Material: | Steel |
| Colour: | grey |
| Weight: | 0,15 kg |
| Weight including packaging: | 0,15 kg |
| Width: | 222 mm |
| Height: | 194 mm |
| Depth: | 5 mm |
| Width with packaging: | 222 mm |
| Height with packaging: | 194 mm |
| Depth with packaging: | 5 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799732877 |
| Article number: | 0073.0287 |

Manufacturer: MAICO

SGEI 16-18 Inlet protective grille