**Duct piece for servomotor MSR 125**

Duct piece for installing MS… and MS… S servomotors.

With holes for mounting the servomotor and as cable duct.

With inspection aperture, sealed with rubber plug.

With fold stepped outwards to produce a smooth surface on the inside.

Technical data

|  |  |
| --- | --- |
| Article: | MSR 125 |
| Material: | galvanised sheet steel |
| Weight: | 0,9 kg |
| Weight including packaging: | 0,95 kg |
| Nominal size: | 125 mm |
| Length: | 400 mm |
| Width: | 125 mm |
| Height: | 125 mm |
| Depth: | 400 mm |
| Width with packaging: | 134 mm |
| Height with packaging: | 133 mm |
| Depth with packaging: | 400 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799925118 |
| Article number: | 0092.0511 |

Manufacturer: MAICO

MSR 125 Duct piece for servomotor