**Distributor FFS-V4**

Plastic air distributor with 4 connection options for the flexible oval flat duct and a ventilation duct main connection (DN 125)

Including removable service cover with adjustment options.

The materials used are odour-neutral.

Scope of delivery:

3 volumetric flow adjustment elements

1 black blind cover

4 O-rings (valve gaskets)

1 horizontal DN 125 air distributor transition piece (FFS-VTHÜ)

1 vertical DN 125 air distributor transition piece (FFS-VTVÜ)

2 individual air distributor extensions (FFS-V)

3 gaskets for the distributor extensions

4 individual duct fixing adapters (FFS-RA)

1 EPS installation aid (polystyrene)

Technical data

|  |  |
| --- | --- |
| Article: | FFS-V4 |
| Max. volumetric flow: | 160 m³/h |
| Weight: | 2,06 kg |
| Weight including packaging: | 2,25 kg |
| Width: | 675 mm |
| Height: | 186 mm |
| Depth: | 545 mm |
| Width with packaging: | 550 mm |
| Height with packaging: | 240 mm |
| Depth with packaging: | 360 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799558712 |
| Article number: | 0055.0871 |

Manufacturer: MAICO

FFS-V4 Distributor